## Slide 1: Panel Session: 5G Test and Measurement
Malcolm Robertson, Keysight
Jon Martens, Anritsu
Chris Scholz, Rohde & Schwarz
Jason White, National Instruments
Moderator: Kate A. Remley, NIST
IEEE 5G Summit

## Slide 2: So Many Systems, So Much to Measure
mmWave Transistor and NL-Device Measurements
mmWave Signal Characterization
Channel Measurement and Modeling
Massive MIMO and Over-the-Air Test

## Slide 3: Some Measurement Challenges
Millimeter-wave Transistor and NL-Device Measurements
mmWave Transistor Measurements and Models
Acoustic-Wave Filters
New Materials
Millimeter-Wave Signal Characterization
Waveform Traceability
Source and Transmitter Characterization
Impedance, Power, Noise
Uncertainty and Demodulation Errors

## Slide 4: Channel Measurement Challenges
Channel
Channel Measurement and Modeling
Channel Sounding: Indoor and Outdoor
Channel Modeling and Standards
Effect of Uncertainty on Metrics, Models
Angle of Departure, Angle of Arrival
Many bands: 28, 38, 60, 72, 83 GHz, …
Indoor 83 GHz channel measurements
PDPs for a single location, different orientations

## Slide 5: Antenna Measurement Challenges
MIMO Beam Forming and Over-the-Air Test
OTA Test and Massive MIMO
Wideband Antenna Calibrations
MIMO Antenna Test
Free-Field Modulated Signal Test
Reverberation-Chamber Methods
Beam Forming
Smart Path Beam Forming Based on Antenna and Channel Models
Testing Beam-Forming Algorithms
Antenna measurement over multiple angles
OTA test at mmWave in reverberation chamber

## Slide 6: The Measurement Elephant in the Room
On-Wafer to OTA – No connectors to test:
  Efficiency
  Distortion
  Troubleshooting stages
What is the answer??

## Slide 7: Some Questions for Discussion
Devices and Materials:
  What are prospects for large-signal network analysis at mmWave frequencies?
  What are issues tuning mmWave harmonics?
  What is the role of materials measurements in future wireless?
Signal characterization:
  How to handle issues with cascading non-ideal, distortion-inducing instruments (similar to Additive EVM)?
  How do you see the role of traceability in waveform measurements?
Channel measurements:
  Why is it more important to decouple the antenna from the channel measurement?
  Will errors in channel sounders be more important at mmWave frequencies?
Antennas and Massive MIMO:
  How does one generate a known test field for multiple-element antenna arrays?
  What is the role of statistics in testing arrays that operate in more states than you can count?
  What are issues with distributed array timing and synchronization?
The Elephant in the Room:
  How to merge on-wafer and OTA test to verify performance?

## Slide 8: Test and Measurement in 5G – A Global Inflection
Malcolm Robertson

## Slide 9: 5G Technology Trends
Exploding Data Growth
Complex 5G Technologies
Evolution of the RAN
Accelerated Timelines

## Slide 10: 5G Economic Trends
Falling Wireless Industry CAPEX
Cost of Test Driven Down
Intense Competition
Cloud Economics

## Slide 14: 5G Test and Measurement Challenges
Chris Scholz
Product Manager, Vector Network Analyzers
Rohde & Schwarz North America
Chris.scholz@rsa.rohde-schwarz.com
(817) 422-2512
IMS2017 5G Summit
Rohde & Schwarz North America

## Slide 15: Impact of 5G on Test & Measurement
Cloud based network architecture - Centralized base station baseband with high number of distributed radio units ideally connected with no latency (fiber); SDN and NFV - Traffic analytics and security will gain importance
New air interface technology/New protocols - Multiple air interface candidates analyzed in research - Obvious impact to the complete test portfolio
Massive MIMO/mm-wave MIMO - Significantly increased number of Tx/Rx elements - Over the air measurements become essential
mm-Wave Frequencies - cm-Wave and mm-Wave frequency bands, wider bandwidths - New channel models reflecting different propagation conditions

## Slide 16: 5G Impact on Components Testing
4G Components/Devices
Conventional Solution
  Multiple discrete components
  Designed/verified as component
  Easy to Test
Majority of Cost in Precision Metal
  Antenna
  Diplexer
  Waveguide Elements
  Transitions/Interconnections
5G Components/Devices
Single Chip CMOS
  RF/ADC/DAC/Modem
Large part of cost is in Test
  mmW test in production
  Wafer-level functional test
Cost
  Test equipment
  Accuracy/Repeatability/Traceability
  Ease of use
  Time of test
Antenna
RF
ADC/DAC
MODEM
Controller
RF
mmW Antenna
ADC/DAC
MODEM
Controller

## Slide 17
ni.com
5G Measurement Issues in Brief 2017 International Microwave Symposium, June 2017
Jason White
Director, RF and Wireless Test National Instruments
ni.com/5g

## Slide 18: Key Test Challenges for 5G
4G: 200 MHz
4.5 G: 640 MHz
5G: 800 MHz
(Phase 1)
5G: 2 GHz (Phase 2)
Ultra-wide Bandwidths, Multiple Carriers / Beams
Multi-Standard Coverage
28 GHz
37 GHz
60 GHz
70 & 90 GHz
39 GHz
OTA Calibration and Control
Phase
Noise
Signal-to-Noise Ratio
Channel Scaling for MIMO / CA
2 – 128 MIMO channels
…
Port Mobility
– 50 dB
+18 dBm ± 0.5 dB
– 32 dBm ± 0.5 dB
Calibrated Air Interfaces and Chambers
Near field / Far Field
Antenna Arrays
Total Cost of Test
ni.com/5g
Notes: But first let’s review the major challenges that we face from a test perspective when operating at mmWave frequencies. To summarize, we require [read list], which is a very tall order and one that clearly won’t be feasible with current test architectures and testing approaches.
Operation at cm/mmWave requires:
  Flexible frequency coverage for a wide range of regional and domestic frequency bands, and standards (e.g. 802.11ad WiFi @ 60 GHz)
  Wide bandwidth signal generation and acquisition
  Excellent noise performance
  Scalable channel counts
  Port mobility to accommodate beamforming test and to maximize performance
  Over-the-air measurement capability with calibrated measurements to the plane of the DUT

## Slide 19: NI’s Architectural Approach to 5G Test Challenges
Add performance as future requirements emerge
Integrate non-RF I/O into same system to maintain small footprint
Modularity
Flexible mmWave configurations for multi-DUT, multi-frequency and beamforming test
Tight timing and synchronization for MIMO configurations
Frequency and Channel Agility
Accelerated measurements using real-time FPGA processors programmed with LabVIEW FPGA
Achieve demanding EVM requirements through more sophisticated calibration techniques
Software-defined Signal Processing
Key Open Issues for Test:
Test cost of millimeter wave and MIMO
Over the air access / control
ni.com/5g
Notes: Well, from our perspective, the test systems will look something like the following and be architected with three design themes in mind.
First, they will be built with an intense focus on signal processing power and flexibility. With the ability to leverage real time signal processing for both higher layer, real-time test, as well as acceleration of parametric measurements, FPGAs and other high performance processing units will play a key role in the next generation mmWave test systems.
The second principle is modularity. There is massive value in being able to scale port counts, add channels with picosecond level synchronization for MIMO, add non-RF I/O and scale the performance of key functional blocks like ADCs and DACs as new technology emerges.
Finally, the last principle focuses in purpose built port extensions that target the specific frequencies of interest instead of providing full frequency coverage from DC to light. This method delivers higher performance, smaller size, mobility in placement all at a lower cost.

## Slide 20
ni.com/5g